## Sheet1
DO NOT PRINT!!! |  |  | Telconnect Energy |  |  | Date: | 2026-02-13 |  | DO NOT PRINT!!!
Item Selector (NRC) |  |  | NON RECURRING COSTS (NRC) |  |  | Valid Until: | 2026-02-20 |  | Document Version Date: |  |  | NOVEMBER 2023
Category | Code |  | Code | Description | Qty | Unit Sell | Total capex |  | D-Supply | S-Install | Retail | Unit Cost | Total Cost | Markup % | Total Margin
Deye Single Phase Inverters
|  |  | SUN-5K-SG01LP-EU | Deye - 5Kw Single Phase Hybrid Inverter - VOC - 500V Battery - 48V CT&WIFI Incl | 0 | 14839 | 0 |  |  |  |  | 14839 | 0 | 35% | 0
IP PABX | S20 |  | SUN-6K-SG04LP1-EU | Deye - 6Kw Single Phase Hybrid Inverter - VOC - 500V Battery - 48V CT&WIFI Incl | 0 | 16049 | 0 |  |  |  |  | 16049 | 0 | 35% | 0
IP PABX | S50 |  | SUN-8K-SG01LP1-EU | Deye - 8Kw Single Phase Hybrid Inverter - VOC - 500V Battery - 48V CT&WIFI Incl | 0 | 24079 | 0 |  |  |  |  | 24079 | 0 | 35% | 0
Porting | LAB-Porting |  | SUN-10K-SG02LP1-EU-AM3 | Deye - 10Kw Single Phase Hybrid Inverter - VOC - 800V Battery - 48V CT&WIFI Incl | 0 | 30789 | 0 |  |  |  |  | 30789 | 0 | 35% | 0
Porting | LAB-Porting |  | SUN-12K-1PHASE | Deye - 12Kw Single Phase Hybrid Inverter - VOC - 800V Battery - 48V CT&WIFI Incl | 0 | 33319 | 0 |  |  |  |  | 33319 | 0 | 35% | 0
|  |  |  | Deye 3 Phase Inverters | [9 empty] | 35%
Reception Phone | YL-T46U |  | SUN-12K-SG04LP3 | Deye - 12Kw Three Phase Hybrid Inverter - VOC - 800V Battery - 48V CT&WIFI Incl | 0 | 36949 | 0 |  |  |  |  | 36949 | 0 | 35% | 0
|  |  | SUN-15K-SG01LP1-EU | Deye - 15kW Three Phase Hybrid Inverter | 0 | 36289 | 0 |  |  |  |  | 36289 | 0 | 35% | 0
Desk Phone | YL-T33G |  | SUN-16K-SG01LP1-EU | Deye - 16kW Hybrid Single Phase Inverter - VOC - 800V Battery - 48V CT&WIFI Incl | 0 | 42119 | 0 |  |  |  |  | 42119 | 0 | 35% | 0
Desk Phone | YL-T33G |  | SUN-20K-SG05LP3 -EU-SM2 | Deye - 20kW Hybrid Three Phase Inverter LV | 0 | 53119 | 0 |  |  |  |  | 53119 | 0 | 35% | 0
Desk Phone | YL-T31P |  | SUN-20K-SG01HP3-EU | Deye - 20kW Hybrid Three Phase Inverter HV | 0 | 40139 | 0 |  |  |  |  | 40139 | 0 | 35% | 0
Cordless Phone | YL-W60P |  | SUN-30K-SG01HP3-EU | Deye - 30kW Hybrid Three Phase Inverter HV | 2 | 59939 | 119878 |  |  |  |  | 59939 | 119878 | 35% | 41957.3
Conference Phone | YL-CP965 |  | SUN-50K-SG01HP3-EU | Deye - 50kW Hybrid Three Phase Inverter HV | 0 | 83809 | 0 |  |  |  |  | 83809 | 0 | 35% | 0
Switch | 24P-POE-GIG |  | SUN-80K-SG01HP3-EU | Deye - 80kW Hybrid Three Phase Inverter HV | 0 | 129459 | 0 |  |  |  |  | 129459 | 0 | 35% | 0
|  |  |  | Deye Batterys | [9 empty] | 35%
Cabinet | LB-PP24 |  | DEYE-LV-5.32 | Deye - Battery Lithium Ion 5.32kWh 51.2V 100Ah | 0 | 13990 | 0 |  |  |  |  | 13990 | 0 | 35% | 0
Cabinet | Patch-1M |  | DEYE-LV-6.1 | Deye - Battery Lithium Ion 6.14kWh 48V 120Ah | 0 | 21290 | 0 |  |  |  |  | 21290 | 0 | 35% | 0
Solution Install | S-Install |  | DEYE-LV-10.6 | Deye - Battery Lithium Ion 10.6kWh 51V 208Ah | 0 | 26990 | 0 |  |  |  |  | 26990 | 0 | 35% | 0
Thermometer |  |  |  | Deye HV Batterys & Equipment | [9 empty] | 35%
|  |  | DEYE-HV-5.12-BOS-G | Deye - Battery High Voltage 5.12kWh - BOS-G | 12 | 16049 | 192588 |  |  |  |  | 16049 | 192588 | 35% | 67405.8
Switch | 16P-POE |  | DEYE-RACK-BOS-G | Deye - Rack for 12 x Battery High Voltage - BOS-G | 1 | 5489 | 5489 |  |  |  |  | 5489 | 5489 | 35% | 1921.15
Switch | 8P-POE |  | DEYE-BMU-BOS-G | Deye - BMU - Battery High Voltage Control Box for BOS-G | 2 | 12309 | 24618 |  |  |  |  | 12309 | 24618 | 35% | 8616.3
Switch | 4P-POE |  | DEYE-HV-7.68-BOS-A | Deye - Battery High Voltage 7.68kWh - BOS-A | 0 | 22319 | 0 |  |  |  |  | 22319 | 0 | 35% | 0
Cabinet | CAB-4U |  | DEYE-RACK-BOS-A | Deye - Rack for 10 x Battery High Voltage - BOS-A | 0 | 6039 | 0 |  |  |  |  | 60319 | 0 | 35% | 0
|  |  | DEYE-BMU-BOS-A | Deye - BMU - Battery High Voltage Control Box for BOS-A | 0 | 18579 | 0 |  |  |  |  | 18579 | 0 | 35% | 0
|  |  | DEYE-BMU-BOS-B | DEYE - BMU - BATTERY HIGH VOLTAGE CONTROL BOX FOR BOS-B | 0 | 26609 | 0 |  |  |  |  | 26609 | 0
|  |  | DEYE-HV-14,3-BOS-B | DEYE - BATTERY HIGH VOLTAGE 14.3kWh - Bos-B Single | 0 | 34089 | 0 |  |  |  |  | 34089 | 0
|  |  | DEYE-GB-L20 | Deye - Battery High Voltage 20.4kWh GB-L SET (For Deye HV 20kW Inverter) | 0 | 80839 | 0 |  |  |  |  | 80839 | 0 | 35% | 0
|  |  |  | Dyness Battery | [9 empty] | 35%
|  |  | DYN-BX51100 | Dyness - Battery Lithium Ion 5.12KWH 51.2V 100Ah - DYN-BX51100 | 0 | 14179 | 0 |  |  |  |  | 14179 | 0 | 35% | 0
|  |  | DYN-DL5.0-1C | Dyness - Battery Lithium Ion DL5 5.12KWH 51.2V 100Ah - 1C | 0 | 14839 | 0 |  |  |  |  | 14839 | 0 | 35% | 0
|  |  | DYN-PB-14.3 | Dyness - Battery Lithium Ion 14.3kWh - PowerBrick | 0 | 32769 | 0 |  |  |  |  | 32769 | 0 | 35% | 0
|  |  |  | Volta Inverters | [9 empty] | 35%
|  |  | VOLTA-LV-12 | Volta - 12kW Single Phase Hybrid Inverter | 0 | 31339 | 0 |  |  |  |  | 31339 | 0 | 35% | 0
|  |  | VOLTA-LV-15 | Volta - 15kW Three Phase Hybrid Inverter | 0 | 37609 | 0 |  |  |  |  | 37609 | 0 | 35% | 0
|  |  |  | Volta Battery | [9 empty] | 35%
|  |  | VOLTA-S1-51100 | Volta - Battery Lithium Ion 5.1kW 48V 100Ah - Stage 1 - 1st Generation | 0 | 14839 | [5 empty] | 14839 | 0 | 35% | 0
|  |  | VOLTA-S2-51.2 | Volta - Battery Lithium Ion 7.6kW 48V 150Ah - Stage 2 - 1st Generation | 0 | 20889 | [5 empty] | 20889 | 0 | 35% | 0
|  |  | VOLTA-S3-51.2 | Volta - Battery Lithium Ion 10.2kW 48V 200Ah - Stage 3 - 1st Generation | 0 | 26939 | [5 empty] | 26939 | 0 | 35% | 0
|  |  | VOLTA-S4-51.2 | Volta - Battery Lithium Ion 14.3kW 51.2V 200Ah - Stage 4 - 1st Generation | 0 | 35189 | [5 empty] | 35189 | 0 | 35% | 0
|  |  | VOLTA-S1-2NDGEN | Volta - Battery Lithium Ion 5.1kW 48V 100Ah - Stage 1 - 2nd Generation | 0 | 14839 | [5 empty] | 14839 | 0 | 35% | 0
|  |  | VOLTA-S3-2NDGEN | Volta - Battery Lithium Ion 10.2kW 48V 200Ah - Stage 3 - 2nd Generation | 0 | 26939 | [5 empty] | 26939 | 0 | 35% | 0
|  |  | VOLTA-S4-2NDGEN | Volta - Battery Lithium Ion 14.3kW 51.2V 200Ah - Stage 4 - 2nd Generation | 0 | 32989 | [5 empty] | 32989 | 0 | 35% | 0
|  |  |  | Dyness & Other Batterys | [9 empty] | 35%
|  |  | DYN-BX51100 | Dyness - Battery Lithium Ion 5.12KWH 51.2V 100Ah - DYN-BX51100 | 0 | 14179 | [5 empty] | 14179 | 0 | 35% | 0
|  |  | DYN-DL5.0-1C | Dyness - Battery Lithium Ion DL5 5.12KWH 51.2V 100Ah - 1C | 0 | 14839 | [5 empty] | 14839 | 0 | 35% | 0
|  |  | DYN-PB-14.3 | Dyness - Battery Lithium Ion 14.3kWh - PowerBrick | 0 | 32769 | [5 empty] | 32769 | 0 | 35% | 0
|  |  |  | Other Items Example Cube | [9 empty] | 35%
|  |  | VOLTA-HV-TOWER | Volta 60kWh HV Tower | 0 | 186989 | [5 empty] | 186989 | 0 | 35% | 0
|  |  | VOLTA-CUBE-70/50 | Volta - Cube 70/50 (Excluding Inverter) | 0 | 258489 | [5 empty] | 258489 | 0 | 35% | 0
|  |  | VOLTA-CUBE-140/50 | Volta - Cube 140/50 (Excluding Inverter) | 0 | 472989 | [5 empty] | 472989 | 0 | 35% | 0
|  |  | SDA10-48100 | Shoto - Battery Lithium Ion 5.1kW 48V 100Ah | 0 | 14179 | [5 empty] | 14179 | 0 | 35% | 0
|  |  | HP10-BOX5 | Shoto Pro - Battery Lithium Ion 5.1kW 48V 100A - Wall Mount/Stackable | 0 | 13629 | [5 empty] | 13629 | 0 | 35% | 0
|  |  | LEMOEN-ECO-2.56 | Lemoen - Battery Lithium Ion 2.56kWh 100Ah 25.6V | 0 | 6479 | [5 empty] | 6479 | 0 | 35% | 0
|  |  | SMDSS4143 | Solar MD - Battery Lithium Ion 14.3kWh 51.2V | 0 | 49498 | [5 empty] | 49498 | 0 | 35% | 0
|  |  |  | Lux Power | [9 empty] | 35%
|  |  | LUX-SNA5000WPV | LuxPower - Inverter 5Kw Eco Hybrid / Off Grid | 0 | 7689 | 0 |  |  |  |  | 7689 | 0 | 35% | 0
|  |  | LUX-SNA6000WPV | LuxPower - Inverter 6Kw Eco Hybrid / Off Grid | 0 | 8349 | 0 |  |  |  |  | 8349 | 0 | 35% | 0
|  |  | LUX-LXP5K-LV | LuxPower - Inverter 5Kw Hybrid Single Phase | 0 | 13519 | 0 |  |  |  |  | 13519 | 0 | 35% | 0
|  |  | LUX-LXP-LB10K | LuxPower - Inverter 10Kw Hybrid Single Phase | 0 | 27269 | 0 |  |  |  |  | 27269 | 0 | 35% | 0
|  |  | LUX-LXP-LB12K | LuxPower - Inverter 12Kw Hybrid Single Phase | 0 | 29689 | 0 |  |  |  |  | 29689 | 0 | 35% | 0
|  |  | Lux-SNA1200kW | LuxPower - Inverter 12Kw Hybrid Single Phase | 0 | 17500 | 0 |  |  |  |  | 17500 | 0 | 35% | 0
|  |  | LUX-ECOBEAST-6/10 | LuxPower - 6kw+10.24kwh Eco Beast All in One | 0 | 35739 | 0 |  |  |  |  | 35739 | 0 | 35% | 0
|  |  |  | Sig-Energy | [9 empty] | 35%
|  |  | Sig-INV-25K-T | Sig 25kW | 0 | 62260 | 0 |  |  |  |  | 62260 | 0 | 35% | 0
|  |  | Sig-Bat-10K | SigenStor Battery 9.04kWh | 0 | 42680 | 0 |  |  |  |  | 42680 | 0 | 35% | 0
|  |  | Sig-Ins-GM | SigenStor Installation Kit for Ground-mounted | 0 | 2321 | 0 |  |  |  |  | 2321 | 0 | 35% | 0
|  |  | Sig-Com | Sigen Communication Module Global | 0 | 2277 | 0 |  |  |  |  | 2277 | 0 | 35% | 0
|  |  | SIG-GW-T-HM-60K | Sigen TP Home Max PRO Gateway 2x inverters ( 60kW Max Output ) | 0 | 26829 | 0 |  |  |  |  | 26829 | 0 | 35% | 0
|  |  |  | Hina ESS | [9 empty] | 35%
|  |  | HINAESS-HI5 | HINA ESS - BATTERY LITHIUM Ion 5.1kW 51v 100AH - Hi5 | 0 | 11539 | 0 |  |  |  |  | 11539 | 0 | 35% | 0
|  |  | HINAESS-POWERGEM | Hina ESS - BATTERY LITHIUM Ion 5.1kWh - PowerGem | 0 | 12089 | 0 |  |  |  |  | 12089 | 0 | 35% | 0
|  |  | HINAESS-POWERGEMPLUS | HINA ESS - BATTERY LITHIUM 14.3kWh - PowerGemPlus | 0 | 26059 | 0 |  |  |  |  | 26059 | 0 | 35% | 0
|  |  | HINAESS-POWERGEMPLUS | Hina ESS - BATTERY LITHIUM 16.076kWh - PowerGem Max | 0 | 27709 | 0 |  |  |  |  | 27709 | 0 | 35% | 0
|  |  |  | Hubble | [9 empty] | 35%
|  |  |  | Blade 7.2kW | 0 | 14400 | 0 |  |  |  |  | 14400 | 0 | 35% | 0
[6 empty] | 0 | 0 |  |  |  |  | 12089 | 0 | 35% | 0
[6 empty] | 0 | 0 |  |  |  |  | 26059 | 0 | 35% | 0
[6 empty] | 0 | 0 |  |  |  |  | 27709 | 0 | 35% | 0
|  |  |  | Huawei | [9 empty] | 35%
|  |  | Huawei-powerrm-5-5 | Huawei - Power-M 5kW Hybrid Inverter +BMU +5kWh Battery Module | 0 | 23309 | 0 |  |  |  |  | 23309 | 0 | 35% | 0
|  |  | Huawei-powerrm-Bat-5 | Huawei Baterry 5.12kWh 48V ( add on for Power-M System) | 0 | 13409 | 0 |  |  |  |  | 13409 | 0 | 35% | 0
|  |  | Huawei-base - bat-5 | Wall Mounting Base / Bracket | 0 | 2530 | 0 |  |  |  |  | 2530 | 0 | 35% | 0
|  |  | Hauwei-KTL-50GT | Huawei 50KTL On-Grid Inverter | 0 | 53119 | 0 |  |  |  |  | 53119 | 0 | 35% | 0
|  |  | Huawei-KTL-100GT | Huawei 100KTL On-Grid Inverter | 0 | 84469 | 0 |  |  |  |  | 84469 | 0 | 35% | 0
|  |  | Huawei-KTL150GT | Huawei 150KTL On-Grid Inverter | 0 | 117139 | 0 |  |  |  |  | 117139 | 0 | 35% | 0
|  |  | Huawei-KTL-330GT | Huawei 330KTL On-Grid Inverter | 0 | 144419 | 0 |  |  |  |  | 144419 | 0 | 35% | 0
|  |  | Huawei-Luna-100-100 | Huawei - Luna 100kW/100kW ESS Commercial Solution | 0 | 723789 | 0 |  |  |  |  | 723789 | 0 | 35% | 0
|  |  | Huawei-Luna-100-200 | Huawei - Luna 100kW/200kW ESS Commercial Solution | 0 | 1231989 | 0 |  |  |  |  | 1231989 | 0 | 35% | 0
|  |  |  | Aircon | [9 empty] | 35%
|  |  | VOLTA-AC-12 | Volta - Smart Inverter Air Conditioner - 12000BTU | 0 | 5390 | 0 |  |  |  |  | 5390 | 0 | 35% | 0
|  |  | VOLTA-AC-18 | Volta - Smart Inverter Air Conditioner - 18000BTU | 0 | 8030 | 0 |  |  |  |  | 8030 | 0 | 35% | 0
|  |  | VOLTA-AC-24 | Volta - Smart Inverter Air Conditioner - 24000BTU | 0 | 10450 | 0 |  |  |  |  | 10450 | 0 | 35% | 0
|  |  | GR-4000 | 4kW MPPT Geyser Element Controller | 0 | 2710.4 | 0 |  |  |  |  | 2710 | 0 | 35% | 0
|  |  |  | EV | [9 empty] | 35%
|  |  | AW-EV-7 | Alvis Wallbox - EV Charger 7kW 230v | 0 | 6589 | 0 |  |  |  |  | 6589 | 0 | 35% | 0
|  |  | AW-EV-22 | Alvis Wallbox - Ev Charger 22kW 400v | 0 | 15389 | 0 |  |  |  |  | 15389 | 0 | 35% | 0
|  |  | AW-EV-30 | Alvis Wallbox - EV Charger 30kW 400v | 0 | 86889 | 0 |  |  |  |  | 86889 | 0 | 35% | 0
|  |  |  | Groundmount | [9 empty] | 35%
|  |  | P/GALV SQ 38x38x1.6mm | Per Panel Price | 0 | 290 | 0 |  |  |  |  | 290 | 0 | 35% | 0
|  |  |  | Panels | [9 empty] | 35%
Conference Phone | YL-CP965 |  | PV001 | PV Panels 555w Jinko/Astronergy/JA | 100 | 1700 | 170000 |  |  |  |  | 1700 | 170000 | 35% | 59500
Switch | 24P-POE-GIG |  | PV-KIT | Rails,Brackets,Clamps | 100 | 550 | 55000 |  |  |  |  | 550 | 55000 | 35% | 19250
UPS | UPS-2000VA |  | BRACKETS-ANGLE | ANGLE BRACKETS | 0 | 500 | 0 |  |  |  |  | 1500 | 0 | 35% | 0
|  |  |  | Extras to add on per install | [9 empty] | 35%
|  |  | S-I-A | Small Install Add on | 0 | 3000 | 0 |  |  |  |  | 3000 | 0 | 35% | 0
|  |  | M-I-A | Med Install Add on | 0 | 5000 | 0 |  |  |  |  | 5000 | 0 | 35% | 0
|  |  | L-I-A | Lrg Install Add on | 1 | 8000 | 8000 |  |  |  |  | 8000 | 8000 | 35% | 2800
|  |  | A | Accomadation | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 35% | 0
[5 empty] | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 35% | 0
|  |  |  | Installation | [9 empty] | 35%
|  |  | INST-SML | Installation Small | 0 | 10000 | 0 |  |  |  |  | 10000 | 0 | 35% | 0
|  |  | INST-MED | Installation Medium | 0 | 12500 | 0 |  |  |  |  | 12500 | 0 | 35% | 0
|  |  | INST-LRG | Installation Large | 4 | 15000 | 60000 |  |  |  |  | 15000 | 60000 | 35% | 21000
|  |  | INST-BU | Installation Back Up(side by side) | 0 | 8500 | 0 |  |  |  |  | 8500 | 0 | 35% | 0
35%
|  |  |  | Cables | [9 empty] | 35%
|  |  |  | 70mm 4 core Armoured Cable | 0 | 729 | [5 empty] | 729 | 0 | 35% | 0
|  |  |  | 95mm 4 Core Armoured Cable | 0 | 974 | [5 empty] | 974 | 0 | 35% | 0
|  |  |  | 120mm 4 Core Armoured Cable | 0 | 1390.04 | [5 empty] | 1390.04 | 0 | 35% | 0
|  |  |  | 150mm 4 core Armoured Cable | 0 | 1752 | [5 empty] | 1752 | 0 | 35% | 0
[5 empty] | 0 | [7 empty] | 635573 |  | 222450.55
[6 empty] | Once-Off Cash Price (NRC) | 858023.55 | Ex Vat
[5 empty] | OR |  |  |  |  | DO NOT DO QUOTES AT LESS THAN 35% MARKUP
|  | 24 Month Factor: | 0.056 |  |  | 24 Month Rental Option | 48049.3188
|  | 36 Month Factor: | 0.03212 |  | OR |  |  |  | Total Deal Margin:
|  | 60 Month Factor: | 0.0244 |  |  | 36 Month Rental Option | 27559.7164 |  | Deal Markup % |  | 222450.55
OR
[6 empty] | 60 Month Rental Option | 20935.7746 | Ex Vat
DO NOT PRINT!!!
Item Selector (NRC)